## Sheet1
Run | Load | Hold | Unload | Poison | Field | Guide | Class. | Main | GV | CN | A2 | Comments | Classifications:
1 | [6 empty] | test |  |  | x |  |  | Test – main detector working, no usable data
2 | [6 empty] | test |  |  | x |  |  | Bad – Main or GV unavailable, data unfixble
3 | [6 empty] | bad | [5 empty] | Cycle – fixable error with cycle start times
4 | [6 empty] | test |  |  | x |  |  | Production(DP) – runs that produce usable data
5 | [6 empty] | test |  |  | x |  |  | Background(BG)- running detectors with empty guides to detect background interferance
6 | [6 empty] | bad
7 | [6 empty] | bad
8 | [6 empty] | bad
9 | [6 empty] | bad
10 | [11 empty] | NO FILES PRESENT
11 | [6 empty] | bad
12 | [6 empty] | bad
13 | [6 empty] | bad
14 | [6 empty] | bad
15 | [6 empty] | test |  |  | x
16 | [6 empty] | bad
17 | [11 empty] | NO FILES PRESENT
18 | [11 empty] | NO FILES PRESENT
19 | [11 empty] | NO FILES PRESENT
20 | [6 empty] | test | x | x
21 | [6 empty] | test | x | x
22 | [6 empty] | test | x | x |  | x | single count in A2
23 | [6 empty] | test | x | x |  | x | single count in A2
24 | [6 empty] | test | x | x |  | x | single count in A2
25 | [6 empty] | test | x | x
26 | [6 empty] | test | x | x |  | x | single count in A2
27 | [6 empty] | bad
28 | [6 empty] | bad
29 | [6 empty] | bad
30 | [6 empty] | bad | x | x |  |  | sparse sporadic counts
31 | [6 empty] | bad | x | x |  |  | ^^^^^^^^^^
32 | [6 empty] | bad | x | x |  |  | ^^^^^^^^^^
33 | [6 empty] | bad | x | x |  |  | One notable spike in Main and GV
34 | [6 empty] | BG | x | x |  |  | beam off, GV closed, background,
35 | [6 empty] | BG | x | x |  |  | beam on, GV closed, background
36 | [6 empty] | bad |  |  |  |  | GV open, Shutter open
37 | [6 empty] | test | x | x |  |  | GV open, Shutter closed,
38 | [6 empty] | test | x | x |  |  | GV open, shutter open, flapper on
39 | [6 empty] | test | x | x |  |  | small spikes in main and GV
40 | [6 empty] | bad
41 | 20 | 10 | 30 |  |  |  | test | x | x
42 | [6 empty] | bad |  |  |  |  | GV open, Shutter closed
43 | [6 empty] | test | x | x |  |  | GV closed, shutter closed
44 | [6 empty] | bad | x | x |  |  | single spike at start
45 | [6 empty] | test | x | x
46 | [6 empty] | test | x | x
47 | 20 | 10 | 30 |  |  |  | test | x | x |  |  | no beam suppress
48 | 20 | 10 | 30 |  |  |  | test | x | x |  |  | Beam suppressed, cycle run
49 | 20 | 15 | 30 |  |  |  | test | x | x |  |  | Beam suppressed, cycle run
50 | 20 | 8 | 30 |  |  |  | test | x | x |  |  | Beam suppressed, cycle run
51 | 20 | 4 | 30 |  |  |  | test | x | x |  |  | Beam suppressed, cycle run
52 | 20 | 2 | 30 |  |  |  | test | x | x |  |  | Beam suppressed, cycle run
53 | [5 empty] | Cu | bad | x | x |  |  | spike at beginning of GV and Main
54 | [5 empty] | Cu | bad | x | x |  |  | spike at beginning of GV and Main
55 | [5 empty] | Cu | bad |  | x |  |  | single spike
56 | [5 empty] | Cu | bad
57 | [5 empty] | Cu | bad
58 | [5 empty] | Cu | bad
59 | [5 empty] | Cu | bad
60 | [5 empty] | Cu | bad
61 | [5 empty] | Cu | bad
62 | [5 empty] | Cu | bad
63 | [5 empty] | Cu | bad |  |  |  |  | beam on, gv closed,flapper off
64 | [5 empty] | Cu | bad |  |  |  |  | Beam on, gv open flapper off, Opened shutter after 300s
65 | [5 empty] | Cu | test | x | x |  |  | Beam on, gv open flapper on
66 | [5 empty] | Cu | bad
67 | [5 empty] | Cu | bad | x | x
68 | [5 empty] | Cu | test | x | x |  |  | Fixed vacuum problem and guide insert misalignment, GV open no flapper
69 | 20 | 20 | 30 |  | none | Cu | test | x | x
70 1SPB | 20 | 20 | 30 |  | 10 | Cu | DP | x | x
71 | 20 | 20 | 30 |  | 250 | Cu | DP | x | x
72 | 20 | 60 | 30 |  | 250 | Cu | bad | x | x |  |  | hold time was 670 three cycles
73 | 20 | 40 | 30 |  |  | Cu | bad | x | x
74 | 20 | 25 | 30 |  | 250 | Cu | DP | x | x
75 | [5 empty] | Cu | bad | x | x
76 |  |  |  |  | 10 | Cu | bad | x | x
77 |  |  |  |  | 10 | Cu | bad
78 | [5 empty] | Cu | test | x | x
79 | 20 | 25 | 30 |  | 10 | Non Coat Cu | DP | x | x |  |  | Timings different than stated
80 |  |  |  |  | 10 | Non Coat Cu | BG |  | x |  |  | GV closed
81 | 20 | 40 | 30 |  | 10 | Non Coat Cu | DP | x | x
82 | 20 | 40 | 30 |  | 10 | Non Coat Cu | DP | x | x
83 | 20 | 20 | 30 |  | 10 | Non Coat Cu | DP | x | x
84 | 20 | 20 | 30 |  | 10 | Non Coat Cu | DP | x | x
85* | 20 | 25 | 30 |  | 10 | Non Coat Cu | DP | x | x
86 |  |  |  |  | 10 | Non Coat Cu | bad | x |  |  |  | Stopped early to increase load time to 25 s
87 |  |  |  |  | 10 | Non Coat Cu | bad | x
88 | 20 | 40 | 30 |  | 10 | Non Coat Cu | DP | x | x |  |  | Shut off flapper when beam is off, reset load time
89 | 20 | 25 | 30 |  | 10 | Non Coat Cu | DP | x | x
90 | 20 | 40 | 30 |  | 10 | Non Coat Cu | DP | x | x
91 | 20 | 25 | 30 |  | 10 | Non Coat Cu | DP | x | x
92 | 20 | 20 | 30 |  | 10 | Non Coat Cu | DP | x | x
93 | [5 empty] | Non Coat Cu | bad | x | x |  |  | junk run
94 0.1SPB | [5 empty] | Non Coat Cu | bad | x | x |  |  | dwell time reduced to 0.1 s here; previously 1.0 s; this run is junk
95 |  |  |  |  | 250 | Non Coat Cu | DP | x | x |  |  | stopped early due to running out of bins; 15th cycle incomplete
96* | 20 | 20 | 30 |  | 250 | Non Coat Cu | DP | x | x |  |  | bin count increased to 108000
97 | 20 | 25 | 30 |  | 250 | Non Coat Cu | DP | x | x
98 | 20 | 40 | 30 |  | 250 | Non Coat Cu | DP | x | x
99 |  |  |  |  | 250 | Non Coat Cu | bad | x | x |  |  | Stopped prematurely
100* | 20 | 20 | 30 |  | 250 | Non Coat Cu | DP | x | x
101* | 20 | 40 | 30 |  | 250 | Non Coat Cu | DP | x | x
102* | 20 | 40 | 30 |  | 250 | Non Coat Cu | DP | x | x
103* | 20 | 25 | 30 |  |  | Non Coat Cu | DP | x | x
104 | [5 empty] | DLC Cu | bad | x
105 | [5 empty] | DLC Cu | bad | x | x
106 | [5 empty] | DLC Cu | bad | x | x |  |  | Test. Moved magnet transition to 15 s from start, instead of 20. No noise observed
107 | [5 empty] | DLC Cu | bad | x | x |  |  | BG run with GV closed throughout. JUNK; GV electronic signal missing
108 | [5 empty] | DLC Cu | bad | x | x |  |  | JUNK. GV moved due to rsidual air in lines.
109 |  |  |  | 15 | 10 | DLC Cu | BG | x | x |  |  | BG run with GV closed throughout by disconnecitng air supply, magnet on the whole time
110 | 20 | 25 | 30 | 15 | 10 | DLC Cu | DP | x | x |  |  | magnet on continously
111 | 20 | 40 | 30 | 15 | 10 | DLC Cu | DP | x | x |  |  | magnet on continously
112 | 20 | 20 | 30 | 15 | 10 | DLC Cu | DP | x | x |  |  | beam came off at some point, magnet on continously
113 | 20 | 30 | 30 | 15 | 10 | DLC Cu | DP | x | x |  |  | magnet on continously
114 | 20 | 25 | 30 | 15 | 10 | DLC Cu | bad | x | x |  |  | reconnected relay so magnet 2(B) would turn off and on
115 | [5 empty] | DLC Cu | [5 empty] | power was lost in middle of run
116 | [5 empty] | DLC Cu | bad | x | x
117 | [5 empty] | DLC Cu | bad | x | x
118 | [5 empty] | DLC Cu | bad |  | x
119 | [5 empty] | DLC Cu | bad | x | x | x | x
120 | [5 empty] | DLC Cu | bad | x | x | x | x
121 | [5 empty] | DLC Cu | bad | x | x | x | x
122 | [5 empty] | DLC Cu | bad | x | x | x | x
123 | [5 empty] | DLC Cu | bad | x | x | x | x
124 | [5 empty] | DLC Cu | bad | x | x | x | x
125 | [5 empty] | DLC Cu | bad | x | x | x | x
126 | [5 empty] | DLC Cu | bad | x | x | x | x
127 | [5 empty] | DLC Cu | bad | x | x | x | x
128 | [5 empty] | DLC Cu | bad | x | x | x | x
129 | 20 | 25 | 30 | 15 | 20 | DLC Cu | DP | x | x | x | x
130 | 20 | 25 | 30 | 15 | 30 | DLC Cu | DP | x | x | x | x
131 |  |  |  | 15 | 30 | DLC Cu | bad | x | x | x | x | junk
132 | 20 | 20 | 30 | 15 | 30 | DLC Cu | DP | x | x | x | x
133 | 20 | 40 | 30 | 15 | 30 | DLC Cu | DP | x | x | x | x
134 |  |  |  | 15 | 30 | DLC Cu | BG | x | x | x | x | BG run: GV closed throughout
135 | 20 | 25 | 30 |  | 100 | DLC Cu | DP | x | x | x | x
136 | 20 | 25 | 30 |  | 100 | DLC Cu | DP | x | x | x | x
137 | 20 | 25 | 30 |  | 100 | DLC Cu | DP | x | x | x | x
138 | 20 | 25 | 30 |  | 100 | DLC Cu | DP | x | x | x | x
139 | 20 | 20 | 30 |  | 100 | DLC Cu | DP | x | x | x | x
140 | 20 | 20 | 30 |  | 100 | DLC Cu | DP | x | x | x | x
141 | 20 | 20 | 30 |  | 100 | DLC Cu | DP | x | x | x | x
142 | 20 | 20 | 30 |  | 100 | DLC Cu | DP | x | x | x | x
143 | 20 | 20 | 30 |  | 10 | DLC Cu | DP | x | x | x | x | Total 10 G 20 sec
144 | 20 | 20 | 30 |  | 10 | DLC Cu | DP | x | x | x | x
145 | 20 | 20 | 30 |  | 10 | DLC Cu | DP | x | x | x | x
146 | 20 | 20 | 39 |  | 10 | DLC Cu | bad | x | x | x | x | dry run ( no beam)
147 | [5 empty] | DLC Cu | test | x | x | x | x | beam tune
148 | [5 empty] | DLC Cu | test | x | x | x | x | flapper tuning
149 | [5 empty] | DLC Cu | test | x | x | x | x | flapper tuning
150 | 20 | 20 | 30 |  | 10 | DLC Cu | DP | x | x | x | x | Some noise
151 | 20 | 20 | 30 |  | 250 | DLC Cu | DP | x | x | x | x
152 | 20 | 20 | 30 |  | 250 | DLC Cu | DP | x | x | x | x
153 | 20 | 20 | 30 |  | 250 | DLC Cu | DP | x | x | x | x
154 | 20 | 20 | 30 |  | 250 | DLC Cu | DP | x | x | x | x
155 | 20 | 25 | 30 |  | 250 | DLC Cu | DP | x | x | x | x
156 | 20 | 40 | 30 |  | 250 | DLC Cu | DP | x | x | x | x
157 | 20 | 40 | 30 |  | 250 | DLC Cu | DP | x | x | x | x
158 | 20 | 40 | 30 |  | 250 | DLC Cu | DP | x | x | x | x
159 | 20 | 25 | 30 |  | 250 | DLC Cu | DP | x | x | x | x
160 | [5 empty] | DLC Cu | bad | x | x | x | x | Beam Check, GV open, Shutter Open
161 | 20 | 20 | 30 |  | 250 | DLC Cu | DP | x | x | x | x
162 | 20 | 20 | 30 |  | 100 | DLC Cu | DP | x | x | x | x
163 | 20 | 20 | 30 |  | 10 | DLC Cu | DP | x | x | x | x
164 | 20 | 20 | 30 | 15 | 10 | DLC Cu | DP | x | x | x | x | started the poison/ magnet switcher
165 | 20 | 25 | 30 | 15 | 10 | DLC Cu | DP | x | x | x | x
166 | 20 | 40 | 30 | 15 | 10 | DLC Cu | DP | x | x | x | x
167 | 20 | 30 | 30 | 15 | 10 | DLC Cu | DP | x | x | x | x
168 | 20 | 20 | 30 | 15 | 10 | DLC Cu | DP | x | x | x | x
169 | 20 | 25 | 30 | 15 | 10 | DLC Cu | DP | x | x | x | x
170 | 20 | 40 | 30 | 15 | 10 | DLC Cu | DP | x | x | x | x
171 | 20 | 30 | 30 | 15 | 10 | DLC Cu | DP | x | x | x | x
172 | [5 empty] | DLC Cu | bad | x | x | x | x
173 | [5 empty] | DLC Cu | bad | x | x | x | x | no beam suppression, in list mode for data acquisition , junk run
174 | [5 empty] | DLC Cu | bad | x | x | x | x | junk
175 |  |  |  |  | 10 | DLC Cu | DP | x | x | x | x | no beam suppression, in list mode for data acquisition, beam went off
176 | [5 empty] | DLC Cu | DP | x | x | x | x | no beam suppression, in list mode for data acquisition
177 | [5 empty] | DLC Cu | bad | x | x | x | x | checking Beam
178 | [5 empty] | DLC Cu | bad | x | x | x | x | no beam suppression, in list mode for data acquisition, MCS program stopped working in middle of run
179 | [5 empty] | DLC Cu | DP | x | x | x | x | no beam suppression, in list mode for data acquisition
180 | [5 empty] | DLC Cu | DP | x | x | x | x | DAQ died again!!?
181 | 20 | 20 | 30 |  | 10 | DLC Cu | DP | x | x | x | x | no beam suppression, in list mode for data acquisition
182 | 20 | 20 | 20 |  | 10 | DLC Cu | DP | x | x | x | x | has beam suppression, the program stopped at 34 cycles
183 | 20 | 20 | 20 |  | 10 | DLC Cu | DP | x | x | x | x | has beam suppression
184 | [5 empty] | DLC Cu | bad | x | x | x | x
185 | [5 empty] | DLC Cu | bad | x | x | x | x
186 | [5 empty] | DLC Cu | bad | x | x | x | x
187 | [5 empty] | DLC Cu | bad | x | x | x | x
188 | [5 empty] | DLC Cu | bad | x | x | x | x
189 | [5 empty] | DLC Cu | bad | x | x | x | x
190 | [5 empty] | DLC Cu | bad | x | x | x | x
191 | [5 empty] | DLC Cu | bad | x | x | x | x
192 | [5 empty] | DLC Cu | bad | x | x | x | x
193 | [5 empty] | DLC Cu | bad | x | x | x | x
194 | [5 empty] | DLC Cu | bad | x | x | x | x
195 | 20 | 20 | 30 |  | 10 | DLC Cu | DP | x | x | x | x
196 | 20 | 20 | 30 |  | 10 | DLC Cu | DP | x | x | x | x
197 | 20 | 20 | 30 |  | 10 | DLC Cu | DP | x | x | x | x
198 | 20 | 20 | 30 |  | 10 | DLC Cu | DP | x | x | x | x
199 |  |  |  |  | 250 | EP Cu | bad | x | x | x | x
200 | 20 | 20 | 30 |  | 250 | EP Cu | DP | x | x | x | x
201 | 20 | 20 | 30 |  | 250 | EP Cu | DP | x | x | x | x | flapper stopped flapping in middle of run
202 |  |  |  |  | 250 | EP Cu | bad | x | x | x | x | beam diagnostic
203 |  |  |  |  | 250 | EP Cu | bad | x | x | x | x | beam diagnostic
204 | 20 | 20 | 30 |  | 250 | EP Cu | DP | x | x | x | x
205 | 20 | 20 | 30 |  | 250 | EP Cu | DP | x | x | x | x | flapper dies near end of run
206 | 20 | 20 | 30 |  | 250 | EP Cu | DP | x | x | x | x
207 | 20 | 20 | 30 |  | 250 | EP Cu | DP | x | x | x | x
208 | [5 empty] | EP Cu | bad | x | x | x | x | test run
209 | 20 | 20 | 30 |  | 250 | EP Cu | DP | x | x | x | x
210 | 20 | 20 | 30 |  | 250 | EP Cu | DP | x | x | x | x
211 | [5 empty] | EP Cu | bad | x | x | x | x | bad run
212 | 20 | 20 | 30 |  | 100 | EP Cu | DP | x | x | x | x
213 | 20 | 20 | 30 |  | 100 | EP Cu | DP | x | x | x | x
214 | 20 | 20 | 30 |  | 100 | EP Cu | DP | x | x | x | x
215 | 20 | 20 | 30 |  | 100 | EP Cu | DP | x | x | x | x
216 | 20 | 20 | 30 |  | 100 | EP Cu | DP | x | x | x | x
217 | [5 empty] | EP Cu | bad | x | x | x | x
218 | [5 empty] | EP Cu | bad | x | x | x | x
219 | 20 | 20 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
220 | 20 | 20 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
221 | 20 | 25 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
222 | [5 empty] | EP Cu | bad | x | x | x | x | bad run
223 | 20 | 25 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
224 | [5 empty] | EP Cu | bad | x | x | x | x
225 | 20 | 40 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
226 | 20 | 30 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
227 | 20 | 30 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
228 | [5 empty] | EP Cu | bad | x | x | x | x | new guide in, junk
229 | [5 empty] | EP Cu | bad | x | x | x | x | junk
230 | 20 | 30 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
231 | 20 | 30 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
232 | 20 | 20 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
233 | 20 | 20 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
234 | 20 | 40 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
235 | 20 | 40 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
236 | 20 | 40 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
237 | 20 | 25 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
238 | [5 empty] | EP Cu | bad | x | x | x | x | big noise spike near end of run
239 | [5 empty] | EP Cu | bad | x | x | x | x | beam suppressed during hold and unload this run is junk
240 | [5 empty] | EP Cu | bad |  |  |  |  | junk.
241 | [5 empty] | EP Cu | bad |  |  |  |  | beam not suppressed any more; junk
242 | 20 | 20 | 30 |  | 10 | EP Cu | DP | x | x | x | x | chris fixes main detector here
243 | 20 | 20 | 30 |  | 10 | EP Cu | DP | x | x | x | x
244 | 20 | 20 | 30 |  | 10 | EP Cu | DP | x | x | x | x
245 | 20 | 20 | 30 |  | 10 | EP Cu | DP | x | x | x | x | changes to coils to flatten fields see logbook
246 | 20 | 20 | 30 |  | 10 | EP Cu | DP | x | x | x | x
247 | 20 | 20 | 30 |  | 10 | EP Cu | DP | x | x | x | x
248 | 20 | 20 | 30 |  | 10 | EP Cu | DP | x | x | x | x
249 | 20 | 20 | 30 |  | 10 | EP Cu | DP | x | x | x | x | stopped run to look at magnets, A magnet backwards junk run
250 | 20 | 20 | 30 |  | 10 | EP Cu | DP | x | x | x | x
251 | 20 | 20 | 30 |  | 10 | EP Cu | DP | x | x | x | x
252 | [5 empty] | EP Cu | bad | x | x | x | x
253 | [5 empty] | EP Cu | bad | x | x | x | x
254 | [5 empty] | EP Cu | bad | x | x | x | x
255 | [5 empty] | EP Cu | bad | x | x | x | x
256 | [5 empty] | EP Cu | bad | x | x | x | x | disregard
257 | 20 | 20 | 30 |  | 10 | EP Cu | DP | x | x | x | x | New coil configuration (see log entry)
258 | 20 | 20 | 30 |  | 10 | EP Cu | DP | x | x | x | x
259 | [5 empty] | EP Cu | bad | x | x | x | x
260 | [5 empty] | EP Cu | bad | x | x | x | x
261 | [5 empty] | EP Cu | bad | x | x | x | x
262 | 20 | 15 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
263 | [5 empty] | EP Cu | bad | x | x | x | x | bad run
264 | 20 | 40 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
265 | 20 | 70 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
266 | 20 | 20 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
267 | 20 | 25 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
268 | [5 empty] | EP Cu | bad | x | x | x | x | bad run
269 | 20 | 10 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
270 | 20 | 30 | 20 | 15 | 10 | EP Cu | DP | x | x | x | x
271 | [5 empty] | EP Cu | bad | x | x | x | x | GV test
272 | [5 empty] | EP Cu | bad | x | x | x | x | put in new guide
273 | [5 empty] | EP Cu | bad | x | x | x | x
274 | [5 empty] | DLC Cu | bad | x | x | x | x | beam down, disregard
275 | 20 | 30 | 30 | 15 | 10 | DLC Cu | DP | x | x | x | x | the GV mon was fixed before this run
276 | 20 | 40 | 30 | 15 | 10 | DLC Cu | DP | x | x | x | x
277 | 20 | 60 | 30 | 15 | 10 | DLC Cu | DP | x | x | x | x | at time 2100 beam downed for about 20 seconds
278 | 20 | 20 | 30 | 15 | 10 | DLC Cu | DP | x | x | x | x
279 | 20 | 25 | 30 | 15 | 10 | DLC Cu | DP | x | x | x | x
280 | 20 | 80 | 30 | 15 | 10 | DLC Cu | DP | x | x | x | x
281 | 20 | 10 | 30 | 15 | 10 | DLC Cu | DP | x | x | x | x | Ignore first Cycle, GV open before run
282 | 20 | 15 | 30 | 15 | 10 | DLC Cu | DP | x | x | x | x
283 | 20 | 70 | 30 | 15 | 10 | DLC Cu | DP | x | x | x | x
284 | [5 empty] | DLC Cu | bad | x | x | x | x
285 | [5 empty] | DLC Cu | bad | x | x | x | x
286 | 20 | 20 | 30 |  | 10 | DLC Cu | DP | x | x | x | x | magnet G power turned off, junk run
287 | 20 | 20 | 30 |  | 10 | DLC Cu | DP | x | x | x | x
288 | 20 | 20 | 30 |  | 100 | DLC Cu | DP | x | x | x | x
289 | 20 | 20 | 30 |  | 250 | DLC Cu | DP | x | x | x | x
290 | 20 | 20 | 30 |  | 50 | DLC Cu | DP | x | x | x | x
291 | [5 empty] | DLC Cu | bad |  |  |  |  | Flapper flapping
292 | [5 empty] | DLC Cu | bad |  |  |  |  | Flapper open
293 | [5 empty] | DLC Cu | bad |  |  |  |  | flapper tests
294 | [5 empty] | DLC Cu | bad
295 | [5 empty] | DLC Cu | bad
296 | [5 empty] | DLC Cu | bad
297 | 20 | 20 | 30 |  | 25 | DLC Cu | DP | x | x | x | x
298 | 20 | 20 | 30 |  | 175 | DLC Cu | DP | x | x | x | x
299 | 20 | 20 | 30 |  | 25 | DLC Cu | DP | x | x | x | x
300 | [5 empty] | DLC Cu | bad | x | x | x | x
301 | [5 empty] | DLC Cu | bad | x | x | x | x
302 | [5 empty] | DLC Cu | bad | x | x | x | x
303 | [5 empty] | DLC Cu | bad | x | x | x | x
304 | 20 | 20 | 30 |  | 25 | SS | DP | x | x | x | x | shutter failure on some cycles
305 | [5 empty] | SS | bad | x | x | x | x | bad run
306 | [5 empty] | SS | bad | x | x | x | x | shutter failing to open
307 | [5 empty] | SS | bad | x | x | x | x | shutter failing to open
308 | [5 empty] | SS | bad | x | x | x | x | bad run
309 | 20 | 20 | 30 |  | 25 | SS | DP | x | x | x | x
310 | 20 | 20 | 30 |  | 25 | SS | DP | x | x | x | x
311 | 20 | 20 | 30 |  | 25 | SS | DP | x | x | x | x
312 | 20 | 20 | 30 |  | 25 | SS | DP | x | x | x | x
313 | 20 | 20 | 30 |  | 10 | SS | DP | x | x | x | x
314 | 20 | 40 | 30 |  | 10 | SS | DP | x | x | x | x
315 | 20 | 30 | 30 |  | 10 | SS | DP | x | x | x | x
316 | 20 | 20 | 30 |  | 250 | SS | DP | x | x | x | x | supply G off last 1/3 of run
317 | 20 | 40 | 30 |  | 250 | SS | bad | x | x | x | x | supply G off
318 | 20 | 30 | 30 |  | 250 | SS | DP | x | x | x | x | supply G off
319 | [5 empty] | SS | DP | x | x | x | x | mystery
320 | [5 empty] | SS | bad | x | x | x | x
321 | [5 empty] | SS | bad | x | x | x | x | JUNK testing daq
322 | 20 | 20 | 30 |  | 250 | SS | DP | x | x | x | x | lots of rain… water dripping on detector ~cycles 20-25, a few beam dropouts
323 | 20 | 20 | 30 |  | 250 | SS | DP | x | x | x | x | Labview record of supply F voltage indicates low voltage but actual voltage is correct
324 | 20 | 40 | 30 |  | 250 | SS | DP | x | x | x | x | Large beam drop-out
325 | [5 empty] | SS | bad | x | x | x | x
326 | 20 | 20 | 30 |  | 50 | SS | DP | x | x | x | x
327 | 20 | 30 | 30 |  | 50 | SS | DP | x | x | x | x | Large beam drop-out
328 | 20 | 40 | 30 |  | 50 | SS | DP | x | x | x | x | Large beam drop-out
329 | 20 | 20 | 30 |  | 175 | SS | DP | x | x | x | x | time base shift? Need reanalysis
330 | 20 | 30 | 30 |  | 175 | SS | DP | x | x | x | x
331 | 20 | 40 | 30 |  | 175 | SS | DP | x | x | x | x
332 | 20 | 20 | 30 |  | 100 | SS | DP | x | x | x | x
333 | 20 | 30 | 30 |  | 100 | SS | DP | x | x | x | x
334 | 20 | 40 | 30 |  | 100 | SS | DP | x | x | x | x
335 | 20 | 30 | 30 |  | 0 | SS | BG | x | x | x | x | no beam background noise
336 | [5 empty] | SS | bad | x | x | x | x
337 | [5 empty] | SS | bad | x | x | x | x
338 | [5 empty] | SS | bad | x | x | x | x
339 | [5 empty] | MP Cu | bad | x | x | x | x
340 | 20 | 20 | 30 |  | 10 | MP Cu | DP | x | x | x | x | shutter failed 3 times
341 | 20 | 20 | 30 | 15 | 10 | MP Cu | DP | x | x | x | x
342 | 20 | 20 | 30 | 15 | 10 | MP Cu | DP | x | x | x | x
343 | 20 | 10 | 30 | 15 | 10 | MP Cu | DP | x | x | x | x
344 | 20 | 30 | 30 | 15 | 10 | MP Cu | DP | x | x | x | x
345 | 20 | 60 | 30 | 15 | 10 | MP Cu | DP | x | x | x | x | Magnet G turned off during run
346 | 20 | 15 | 30 | 15 | 10 | MP Cu | DP | x | x | x | x | Magnet G turned off for all run
347 | 20 | 45 | 30 | 15 | 10 | MP Cu | DP | x | x | x | x | Magnet G off for early part of run
348 | [5 empty] | MP Cu | bad | x | x | x | x
349 | [5 empty] | MP Cu | bad | x | x | x | x
350 | [5 empty] | MP Cu | bad | x | x | x | x
351 | [5 empty] | MP Cu | bad | x | x | x | x
352 | 20 | 20 | 30 |  | 10 | MP Cu | DP | x | x | x | x | why is ratio so low?
353 | 20 | 20 | 30 |  | 10 | MP Cu | DP | x | x | x | x | External trigger not engaged
354 | 20 | 20 | 30 |  | 10 | MP Cu | DP | x | x | x | x | why is ratio so low?
355 | 20 | 20 | 30 |  | 100 | MP Cu | DP | x | x | x | x
356 | 20 | 20 | 30 |  | 250 | MP Cu | DP | x | x | x | x
357 | 20 | 20 | 30 |  | 25 | MP Cu | DP | x | x | x | x
358 | 20 | 20 | 30 |  | 175 | MP Cu | DP | x | x | x | x
359 | [5 empty] | MP Cu | bad | x | x | x | x | beam down at start
360 | 20 | 20 | 30 |  | 50 | MP Cu | DP | x | x | x | x
361 | 20 | 20 | 30 |  | 25 | MP Cu | DP | x | x | x | x
362 |  |  |  |  | 10 | MP Cu | bad | x | x | x | x | disregard
363 | 20 | 20 | 30 |  | 10 | MP Cu | DP | x | x | x | x
364 | 20 | 15 | 30 | 15 | 10 | MP Cu | DP | x | x | x | x
365 | 20 | 60 | 30 | 15 | 10 | MP Cu | DP | x | x | x | x
366 | 20 | 45 | 30 | 15 | 10 | MP Cu | DP | x | x | x | x
367 |  |  |  | 15 | 10 | MP Cu | bad | x | x | x | x | Fe foil over main detector w/ perm magnets transvrs H, no shielding
368 | 20 | 15 | 30 | 15 | 10 | MP Cu | DP | x | x | x | x | Fe foil over main detector w/ perm magnets transvrs H
369 | 20 | 15 | 30 | 15 | 10 | MP Cu | DP | x | x | x | x | Fe foil over main detector w/ perm magnets, longitudinal H
370 | 20 | 15 | 30 | 15 | 10 | MP Cu | DP | x | x | x | x | Fe foil over main detector w/ perm magnets, trans H, F at max, trans H perm mag at btm of Al coupler
371 | 20 | 15 | 30 | 15 | 10 | MP Cu | DP | x | x | x | x | Fe foil over main detecter, no perm magnets, trans H perm mag on Al coupler, F at max
372 | 20 | 15 | 30 | 15 | 10 | MP Cu | DP | x | x | x | x | Fe foil over main detector w/ perm magnets, trans H, F at max, trans H perm mag at btm of Al coupler
373 | 20 | 15 | 30 | 15 | 10 | MP Cu | DP | x | x | x | x | No Fe foil over main detector, F at max, trans H perm mag at btm of Al coupler
374 | 20 | 15 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x | EP Bare Cu guide
375 | 20 | 30 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
376 | 20 | 45 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
377 | 20 | 60 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
378 | 20 | 10 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
379 | 20 | 20 | 30 | 15 | 10 | EP Cu | DP | x | x | x | x
380 | 20 | 20 | 30 |  | 10 | EP Cu | DP | x | x | x | x
381 | 20 | 20 | 30 |  | 10 | EP Cu | DP | x | x | x | x
382 | 20 | 20 | 30 |  | 25 | EP Cu | DP | x | x | x | x
383 | 20 | 20 | 30 |  | 50 | EP Cu | DP | x | x | x | x | AFP fill during run… raincoat on
384 | 20 | 20 | 30 |  | 100 | EP Cu | DP | x | x | x | x
385 | 20 | 20 | 30 |  | 175 | EP Cu | DP | x | x | x | x
386 | 20 | 20 | 30 |  | 260 | EP Cu | DP | x | x | x | x
387 | [5 empty] | EP Cu | bad | x | x | x | x
388 | [5 empty] | EP Cu | [5 empty] | NO FILES PRESENT
389 | [5 empty] | EP Cu | bad | x | x | x | x | I have removed the GV mon fro the DAC and put a graphite detector in its plave. The dweel time is set to 10 sec (was 0.1 sec) 207Bi source is taped to the detector.
390 | [5 empty] | EP Cu | bad | x | x | x | x | continue
391 | [5 empty] | EP Cu | bad | x | x | x | x | continue
392 | [5 empty] | EP Cu | bad | x | x | x | x
393 | [5 empty] | EP Cu | bad | x | x | x | x
394 | [5 empty] | EP Cu | bad | x | x | x | x
395 | [5 empty] | EP Cu | bad | x | x | x | x
396 | [5 empty] | EP Cu | bad | x | x | x | x
397 | [5 empty] | EP Cu | bad | x | x | x | x