## Sheet1
Run	Load	Hold	Unload	Poison	Field	Guide	Class.	Main	GV	CN	A2	Comments		Classifications:
1							test			x				Test – main detector working, no usable data
2							test			x				Bad – Main or GV unavailable, data unfixble
3							bad							Cycle – fixable error with cycle start times
4							test			x				Production(DP) – runs that produce usable data
5							test			x				Background(BG)- running detectors with empty guides to detect background interferance
6							bad
7							bad
8							bad
9							bad
10												NO FILES PRESENT
11							bad
12							bad
13							bad
14							bad
15							test			x
16							bad
17												NO FILES PRESENT
18												NO FILES PRESENT
19												NO FILES PRESENT
20							test	x	x
21							test	x	x
22							test	x	x		x	single count in A2
23							test	x	x		x	single count in A2
24							test	x	x		x	single count in A2
25							test	x	x
26							test	x	x		x	single count in A2
27							bad
28							bad
29							bad
30							bad	x	x			sparse sporadic counts
31							bad	x	x			^^^^^^^^^^
32							bad	x	x			^^^^^^^^^^
33							bad	x	x			One notable spike in Main and GV
34							BG	x	x			beam off, GV closed, background,
35							BG	x	x			beam on, GV closed, background
36							bad					GV open, Shutter open
37							test	x	x			GV open, Shutter closed,
38							test	x	x			GV open, shutter open, flapper on
39							test	x	x			small spikes in main and GV
40							bad
41	20	10	30				test	x	x
42							bad					GV open, Shutter closed
43							test	x	x			GV closed, shutter closed
44							bad	x	x			single spike at start
45							test	x	x
46							test	x	x
47	20	10	30				test	x	x			no beam suppress
48	20	10	30				test	x	x			Beam suppressed, cycle run
49	20	15	30				test	x	x			Beam suppressed, cycle run
50	20	8	30				test	x	x			Beam suppressed, cycle run
51	20	4	30				test	x	x			Beam suppressed, cycle run
52	20	2	30				test	x	x			Beam suppressed, cycle run
53						Cu	bad	x	x			spike at beginning of GV and Main
54						Cu	bad	x	x			spike at beginning of GV and Main
55						Cu	bad		x			single spike
56						Cu	bad
57						Cu	bad
58						Cu	bad
59						Cu	bad
60						Cu	bad
61						Cu	bad
62						Cu	bad
63						Cu	bad					beam on, gv closed,flapper off
64						Cu	bad					Beam on, gv open flapper off, Opened shutter after 300s
65						Cu	test	x	x			Beam on, gv open flapper on
66						Cu	bad
67						Cu	bad	x	x
68						Cu	test	x	x			Fixed vacuum problem and guide insert misalignment, GV open no flapper
69	20	20	30		none	Cu	test	x	x
70	20	20	30		10	Cu	DP	x	x
71	20	20	30		250	Cu	DP	x	x
72	20	60	30		250	Cu	bad	x	x			hold time was 670 three cycles
73	20	40	30			Cu	bad	x	x
74	20	25	30		250	Cu	DP	x	x
75						Cu	bad	x	x
76					10	Cu	bad	x	x
77					10	Cu	bad
78						Cu	test	x	x
79	20	25	30		10	Non Coat Cu	DP	x	x			Timings different than stated
80					10	Non Coat Cu	BG		x			GV closed
81	20	40	30		10	Non Coat Cu	DP	x	x
82	20	40	30		10	Non Coat Cu	DP	x	x
83	20	20	30		10	Non Coat Cu	DP	x	x
84	20	20	30		10	Non Coat Cu	DP	x	x
85*	20	25	30		10	Non Coat Cu	DP	x	x
86					10	Non Coat Cu	bad	x				Stopped early to increase load time to 25 s
87					10	Non Coat Cu	bad	x
88	20	40	30		10	Non Coat Cu	DP	x	x			Shut off flapper when beam is off, reset load time
89	20	25	30		10	Non Coat Cu	DP	x	x
90	20	40	30		10	Non Coat Cu	DP	x	x
91	20	25	30		10	Non Coat Cu	DP	x	x
92	20	20	30		10	Non Coat Cu	DP	x	x
93						Non Coat Cu	bad	x	x			junk run
94						Non Coat Cu	bad	x	x			dwell time reduced to 0.1 s here; previously 1.0 s; this run is junk
95					250	Non Coat Cu	DP	x	x			stopped early due to running out of bins; 15th cycle incomplete
96*	20	20	30		250	Non Coat Cu	DP	x	x			bin count increased to 108000
97	20	25	30		250	Non Coat Cu	DP	x	x
98	20	40	30		250	Non Coat Cu	DP	x	x
99					250	Non Coat Cu	bad	x	x			Stopped prematurely
100*	20	20	30		250	Non Coat Cu	DP	x	x
101*	20	40	30		250	Non Coat Cu	DP	x	x
102*	20	40	30		250	Non Coat Cu	DP	x	x
103*	20	25	30			Non Coat Cu	DP	x	x
104						DLC Cu	bad	x
105						DLC Cu	bad	x	x
106						DLC Cu	bad	x	x			Test. Moved magnet transition to 15 s from start, instead of 20. No noise observed
107						DLC Cu	bad	x	x			BG run with GV closed throughout. JUNK; GV electronic signal missing
108						DLC Cu	bad	x	x			JUNK. GV moved due to rsidual air in lines.
109				15	10	DLC Cu	BG	x	x			BG run with GV closed throughout by disconnecitng air supply, magnet on the whole time
110	20	25	30	15	10	DLC Cu	DP	x	x			magnet on continously
111	20	40	30	15	10	DLC Cu	DP	x	x			magnet on continously
112	20	20	30	15	10	DLC Cu	DP	x	x			beam came off at some point, magnet on continously
113	20	30	30	15	10	DLC Cu	DP	x	x			magnet on continously
114	20	25	30	15	10	DLC Cu	bad	x	x			reconnected relay so magnet 2(B) would turn off and on
115						DLC Cu						power was lost in middle of run
116						DLC Cu	bad	x	x
117						DLC Cu	bad	x	x
118						DLC Cu	bad		x
119						DLC Cu	bad	x	x	x	x
120						DLC Cu	bad	x	x	x	x
121						DLC Cu	bad	x	x	x	x
122						DLC Cu	bad	x	x	x	x
123						DLC Cu	bad	x	x	x	x
124						DLC Cu	bad	x	x	x	x
125						DLC Cu	bad	x	x	x	x
126						DLC Cu	bad	x	x	x	x
127						DLC Cu	bad	x	x	x	x
128						DLC Cu	bad	x	x	x	x
129	20	25	30	15	20	DLC Cu	DP	x	x	x	x
130	20	25	30	15	30	DLC Cu	DP	x	x	x	x
131				15	30	DLC Cu	bad	x	x	x	x	junk
132	20	20	30	15	30	DLC Cu	DP	x	x	x	x
133	20	40	30	15	30	DLC Cu	DP	x	x	x	x
134				15	30	DLC Cu	BG	x	x	x	x	BG run: GV closed throughout
135	20	25	30		100	DLC Cu	DP	x	x	x	x
136	20	25	30		100	DLC Cu	DP	x	x	x	x
137	20	25	30		100	DLC Cu	DP	x	x	x	x
138	20	25	30		100	DLC Cu	DP	x	x	x	x
139	20	20	30		100	DLC Cu	DP	x	x	x	x
140	20	20	30		100	DLC Cu	DP	x	x	x	x
141	20	20	30		100	DLC Cu	DP	x	x	x	x
142	20	20	30		100	DLC Cu	DP	x	x	x	x
143	20	20	30		10	DLC Cu	DP	x	x	x	x	Total 10 G 20 sec
144	20	20	30		10	DLC Cu	DP	x	x	x	x
145	20	20	30		10	DLC Cu	DP	x	x	x	x
146	20	20	39		10	DLC Cu	bad	x	x	x	x	dry run ( no beam)
147						DLC Cu	test	x	x	x	x	beam tune
148						DLC Cu	test	x	x	x	x	flapper tuning
149						DLC Cu	test	x	x	x	x	flapper tuning
150	20	20	30		10	DLC Cu	DP	x	x	x	x	Some noise
151	20	20	30		250	DLC Cu	DP	x	x	x	x
152	20	20	30		250	DLC Cu	DP	x	x	x	x
153	20	20	30		250	DLC Cu	DP	x	x	x	x
154	20	20	30		250	DLC Cu	DP	x	x	x	x
155	20	25	30		250	DLC Cu	DP	x	x	x	x
156	20	40	30		250	DLC Cu	DP	x	x	x	x
157	20	40	30		250	DLC Cu	DP	x	x	x	x
158	20	40	30		250	DLC Cu	DP	x	x	x	x
159	20	25	30		250	DLC Cu	DP	x	x	x	x
160						DLC Cu	bad	x	x	x	x	Beam Check, GV open, Shutter Open
161	20	20	30		250	DLC Cu	DP	x	x	x	x
162	20	20	30		100	DLC Cu	DP	x	x	x	x
163	20	20	30		10	DLC Cu	DP	x	x	x	x
164	20	20	30	15	10	DLC Cu	DP	x	x	x	x	started the poison/ magnet switcher
165	20	25	30	15	10	DLC Cu	DP	x	x	x	x
166	20	40	30	15	10	DLC Cu	DP	x	x	x	x
167	20	30	30	15	10	DLC Cu	DP	x	x	x	x
168	20	20	30	15	10	DLC Cu	DP	x	x	x	x
169	20	25	30	15	10	DLC Cu	DP	x	x	x	x
170	20	40	30	15	10	DLC Cu	DP	x	x	x	x
171	20	30	30	15	10	DLC Cu	DP	x	x	x	x
172						DLC Cu	bad	x	x	x	x
173						DLC Cu	bad	x	x	x	x	no beam suppression, in list mode for data acquisition , junk run
174						DLC Cu	bad	x	x	x	x	junk
175					10	DLC Cu	bad	x	x	x	x	no beam suppression, in list mode for data acquisition, beam went off
176						DLC Cu	bad	x	x	x	x	no beam suppression, in list mode for data acquisition
177						DLC Cu	bad	x	x	x	x	checking Beam
178						DLC Cu	bad	x	x	x	x	no beam suppression, in list mode for data acquisition, MCS program stopped working in middle of run
179						DLC Cu	bad	x	x	x	x	no beam suppression, in list mode for data acquisition
180						DLC Cu	bad	x	x	x	x	DAQ died again!!?
181	20	20	30		10	DLC Cu	DP	x	x	x	x	no beam suppression, in list mode for data acquisition
182	20	20	20		10	DLC Cu	DP	x	x	x	x	has beam suppression, the program stopped at 34 cycles
183	20	20	20		10	DLC Cu	DP	x	x	x	x	has beam suppression
184						DLC Cu	bad	x	x	x	x
185						DLC Cu	bad	x	x	x	x
186						DLC Cu	bad	x	x	x	x
187						DLC Cu	bad	x	x	x	x
188						DLC Cu	bad	x	x	x	x
189						DLC Cu	bad	x	x	x	x
190						DLC Cu	bad	x	x	x	x
191						DLC Cu	bad	x	x	x	x
192						DLC Cu	bad	x	x	x	x
193						DLC Cu	bad	x	x	x	x
194						DLC Cu	bad	x	x	x	x
195	20	20	30		10	DLC Cu	DP	x	x	x	x
196	20	20	30		10	DLC Cu	DP	x	x	x	x
197	20	20	30		10	DLC Cu	DP	x	x	x	x
198	20	20	30		10	DLC Cu	DP	x	x	x	x
199					250	EP Cu	bad	x	x	x	x
200	20	20	30		250	EP Cu	DP	x	x	x	x
201	20	20	30		250	EP Cu	DP	x	x	x	x	flapper stopped flapping in middle of run
202					250	EP Cu	bad	x	x	x	x	beam diagnostic
203					250	EP Cu	bad	x	x	x	x	beam diagnostic
204	20	20	30		250	EP Cu	DP	x	x	x	x
205	20	20	30		250	EP Cu	DP	x	x	x	x	flapper dies near end of run
206	20	20	30		250	EP Cu	DP	x	x	x	x
207	20	20	30		250	EP Cu	DP	x	x	x	x
208						EP Cu	bad	x	x	x	x	test run
209	20	20	30		250	EP Cu	DP	x	x	x	x
210	20	20	30		250	EP Cu	DP	x	x	x	x
211						EP Cu	bad	x	x	x	x	bad run
212	20	20	30		100	EP Cu	DP	x	x	x	x
213	20	20	30		100	EP Cu	DP	x	x	x	x
214	20	20	30		100	EP Cu	DP	x	x	x	x
215	20	20	30		100	EP Cu	DP	x	x	x	x
216	20	20	30		100	EP Cu	DP	x	x	x	x
217						EP Cu	bad	x	x	x	x
218						EP Cu	bad	x	x	x	x
219	20	20	30	15	10	EP Cu	DP	x	x	x	x
220	20	20	30	15	10	EP Cu	DP	x	x	x	x
221	20	25	30	15	10	EP Cu	DP	x	x	x	x
222						EP Cu	bad	x	x	x	x	bad run
223	20	25	30	15	10	EP Cu	DP	x	x	x	x
224						EP Cu	bad	x	x	x	x
225	20	40	30	15	10	EP Cu	DP	x	x	x	x
226	20	30	30	15	10	EP Cu	DP	x	x	x	x
227	20	30	30	15	10	EP Cu	DP	x	x	x	x
228						EP Cu	bad	x	x	x	x	new guide in, junk
229						EP Cu	bad	x	x	x	x	junk
230	20	30	30	15	10	EP Cu	DP	x	x	x	x
231	20	30	30	15	10	EP Cu	DP	x	x	x	x
232	20	20	30	15	10	EP Cu	DP	x	x	x	x
233	20	20	30	15	10	EP Cu	DP	x	x	x	x
234	20	40	30	15	10	EP Cu	DP	x	x	x	x
235	20	40	30	15	10	EP Cu	DP	x	x	x	x
236	20	40	30	15	10	EP Cu	DP	x	x	x	x
237	20	25	30	15	10	EP Cu	DP	x	x	x	x
238						EP Cu	bad	x	x	x	x	big noise spike near end of run
239						EP Cu	bad	x	x	x	x	beam suppressed during hold and unload this run is junk
240						EP Cu	bad					junk.
241						EP Cu	bad					beam not suppressed any more; junk
242	20	20	30		10	EP Cu	DP	x	x	x	x	chris fixes main detector here
243	20	20	30		10	EP Cu	DP	x	x	x	x
244	20	20	30		10	EP Cu	DP	x	x	x	x
245	20	20	30		10	EP Cu	DP	x	x	x	x	changes to coils to flatten fields see logbook
246	20	20	30		10	EP Cu	DP	x	x	x	x
247	20	20	30		10	EP Cu	DP	x	x	x	x
248	20	20	30		10	EP Cu	DP	x	x	x	x
249	20	20	30		10	EP Cu	DP	x	x	x	x	stopped run to look at magnets, A magnet backwards junk run
250	20	20	30		10	EP Cu	DP	x	x	x	x
251	20	20	30		10	EP Cu	DP	x	x	x	x
252						EP Cu	bad	x	x	x	x
253						EP Cu	bad	x	x	x	x
254						EP Cu	bad	x	x	x	x
255						EP Cu	bad	x	x	x	x
256						EP Cu	bad	x	x	x	x	disregard
257	20	20	30		10	EP Cu	DP	x	x	x	x	New coil configuration (see log entry)
258	20	20	30		10	EP Cu	DP	x	x	x	x
259						EP Cu	bad	x	x	x	x
260						EP Cu	bad	x	x	x	x
261						EP Cu	bad	x	x	x	x
262	20	15	30	15	10	EP Cu	DP	x	x	x	x
263						EP Cu	bad	x	x	x	x	bad run
264	20	40	30	15	10	EP Cu	DP	x	x	x	x
265	20	70	30	15	10	EP Cu	DP	x	x	x	x
266	20	20	30	15	10	EP Cu	DP	x	x	x	x
267	20	25	30	15	10	EP Cu	DP	x	x	x	x
268						EP Cu	bad	x	x	x	x	bad run
269	20	10	30	15	10	EP Cu	DP	x	x	x	x
270	20	30	20	15	10	EP Cu	DP	x	x	x	x
271						EP Cu	bad	x	x	x	x	GV test
272						EP Cu	bad	x	x	x	x	put in new guide
273						EP Cu	bad	x	x	x	x
274						DLC Cu	bad	x	x	x	x	beam down, disregard
275	20	30	30	15	10	DLC Cu	DP	x	x	x	x	the GV mon was fixed before this run
276	20	40	30	15	10	DLC Cu	DP	x	x	x	x
277	20	60	30	15	10	DLC Cu	DP	x	x	x	x	at time 2100 beam downed for about 20 seconds
278	20	20	30	15	10	DLC Cu	DP	x	x	x	x
279	20	25	30	15	10	DLC Cu	DP	x	x	x	x
280	20	80	30	15	10	DLC Cu	DP	x	x	x	x
281	20	10	30	15	10	DLC Cu	DP	x	x	x	x	Ignore first Cycle, GV open before run
282	20	15	30	15	10	DLC Cu	DP	x	x	x	x
283	20	70	30	15	10	DLC Cu	DP	x	x	x	x
284						DLC Cu	bad	x	x	x	x
285						DLC Cu	bad	x	x	x	x
286	20	20	30		10	DLC Cu	DP	x	x	x	x	magnet G power turned off, junk run
287	20	20	30		10	DLC Cu	DP	x	x	x	x
288	20	20	30		100	DLC Cu	DP	x	x	x	x
289	20	20	30		250	DLC Cu	DP	x	x	x	x
290	20	20	30		50	DLC Cu	DP	x	x	x	x
291						DLC Cu	bad					Flapper flapping
292						DLC Cu	bad					Flapper open
293						DLC Cu	bad					flapper tests
294						DLC Cu	bad
295						DLC Cu	bad
296						DLC Cu	bad
297	20	20	30		25	DLC Cu	DP	x	x	x	x
298	20	20	30		175	DLC Cu	DP	x	x	x	x
299	20	20	30		25	DLC Cu	DP	x	x	x	x
300						DLC Cu	bad	x	x	x	x
301						DLC Cu	bad	x	x	x	x
302						DLC Cu	bad	x	x	x	x
303						DLC Cu	bad	x	x	x	x
304	20	20	30		25	SS	DP	x	x	x	x	shutter failure on some cycles
305						SS	bad	x	x	x	x	bad run
306						SS	bad	x	x	x	x	shutter failing to open
307						SS	bad	x	x	x	x	shutter failing to open
308						SS	bad	x	x	x	x	bad run
309	20	20	30		25	SS	DP	x	x	x	x
310	20	20	30		25	SS	DP	x	x	x	x
311	20	20	30		25	SS	DP	x	x	x	x
312	20	20	30		25	SS	DP	x	x	x	x
313	20	20	30		10	SS	DP	x	x	x	x
314	20	40	30		10	SS	DP	x	x	x	x
315	20	30	30		10	SS	DP	x	x	x	x
316	20	20	30		250	SS	DP	x	x	x	x	supply G off last 1/3 of run
317	20	40	30		250	SS	bad	x	x	x	x	supply G off
318	20	30	30		250	SS	DP	x	x	x	x	supply G off
319						SS	DP	x	x	x	x	mystery
320						SS	bad	x	x	x	x
321						SS	bad	x	x	x	x	JUNK testing daq
322	20	20	30		250	SS	DP	x	x	x	x	lots of rain… water dripping on detector ~cycles 20-25, a few beam dropouts
323	20	20	30		250	SS	DP	x	x	x	x	Labview record of supply F voltage indicates low voltage but actual voltage is correct
324	20	40	30		250	SS	DP	x	x	x	x	Large beam drop-out
325						SS	bad	x	x	x	x
326	20	20	30		50	SS	DP	x	x	x	x
327	20	30	30		50	SS	DP	x	x	x	x	Large beam drop-out
328	20	40	30		50	SS	DP	x	x	x	x	Large beam drop-out
329	20	20	30		175	SS	DP	x	x	x	x	time base shift? Need reanalysis
330	20	30	30		175	SS	DP	x	x	x	x
331	20	40	30		175	SS	DP	x	x	x	x
332	20	20	30		100	SS	DP	x	x	x	x
333	20	30	30		100	SS	DP	x	x	x	x
334	20	40	30		100	SS	DP	x	x	x	x
335	20	30	30		0	SS	BG	x	x	x	x	no beam background noise
336						SS	bad	x	x	x	x
337						SS	bad	x	x	x	x
338						SS	bad	x	x	x	x
339						MP Cu	bad	x	x	x	x
340	20	20	30		10	MP Cu	DP	x	x	x	x	shutter failed 3 times
341	20	20	30	15	10	MP Cu	DP	x	x	x	x
342	20	20	30	15	10	MP Cu	DP	x	x	x	x
343	20	10	30	15	10	MP Cu	DP	x	x	x	x
344	20	30	30	15	10	MP Cu	DP	x	x	x	x
345	20	60	30	15	10	MP Cu	DP	x	x	x	x	Magnet G turned off during run
346	20	15	30	15	10	MP Cu	DP	x	x	x	x	Magnet G turned off for all run
347	20	45	30	15	10	MP Cu	DP	x	x	x	x	Magnet G off for early part of run
348						MP Cu	bad	x	x	x	x
349						MP Cu	bad	x	x	x	x
350						MP Cu	bad	x	x	x	x
351						MP Cu	bad	x	x	x	x
352	20	20	30		10	MP Cu	DP	x	x	x	x	why is ratio so low?
353	20	20	30		10	MP Cu	DP	x	x	x	x	External trigger not engaged
354	20	20	30		10	MP Cu	DP	x	x	x	x	why is ratio so low?
355	20	20	30		100	MP Cu	DP	x	x	x	x
356	20	20	30		250	MP Cu	DP	x	x	x	x
357	20	20	30		25	MP Cu	DP	x	x	x	x
358	20	20	30		175	MP Cu	DP	x	x	x	x
359						MP Cu	bad	x	x	x	x	beam down at start
360	20	20	30		50	MP Cu	DP	x	x	x	x
361	20	20	30		25	MP Cu	DP	x	x	x	x
362					10	MP Cu	bad	x	x	x	x	disregard
363	20	20	30		10	MP Cu	DP	x	x	x	x
364	20	15	30	15	10	MP Cu	DP	x	x	x	x
365	20	60	30	15	10	MP Cu	DP	x	x	x	x
366	20	45	30	15	10	MP Cu	DP	x	x	x	x
367				15	10	MP Cu	bad	x	x	x	x	Fe foil over main detector w/ perm magnets transvrs H, no shielding
368	20	15	30	15	10	MP Cu	DP	x	x	x	x	Fe foil over main detector w/ perm magnets transvrs H
369	20	15	30	15	10	MP Cu	DP	x	x	x	x	Fe foil over main detector w/ perm magnets, longitudinal H
370	20	15	30	15	10	MP Cu	DP	x	x	x	x	Fe foil over main detector w/ perm magnets, trans H, F at max, trans H perm mag at btm of Al coupler
371	20	15	30	15	10	MP Cu	DP	x	x	x	x	Fe foil over main detecter, no perm magnets, trans H perm mag on Al coupler, F at max
372	20	15	30	15	10	MP Cu	DP	x	x	x	x	Fe foil over main detector w/ perm magnets, trans H, F at max, trans H perm mag at btm of Al coupler
373	20	15	30	15	10	MP Cu	DP	x	x	x	x	No Fe foil over main detector, F at max, trans H perm mag at btm of Al coupler
374	20	15	30	15	10	EP Cu	DP	x	x	x	x	EP Bare Cu guide
375	20	30	30	15	10	EP Cu	DP	x	x	x	x
376	20	45	30	15	10	EP Cu	DP	x	x	x	x
377	20	60	30	15	10	EP Cu	DP	x	x	x	x
378	20	10	30	15	10	EP Cu	DP	x	x	x	x
379	20	20	30	15	10	EP Cu	DP	x	x	x	x
380	20	20	30		10	EP Cu	DP	x	x	x	x
381	20	20	30		10	EP Cu	DP	x	x	x	x
382	20	20	30		25	EP Cu	DP	x	x	x	x
383	20	20	30		50	EP Cu	DP	x	x	x	x	AFP fill during run… raincoat on
384	20	20	30		100	EP Cu	DP	x	x	x	x
385	20	20	30		175	EP Cu	DP	x	x	x	x
386	20	20	30		260	EP Cu	DP	x	x	x	x
387						EP Cu	bad	x	x	x	x
388						EP Cu						NO FILES PRESENT
389						EP Cu	bad	x	x	x	x	I have removed the GV mon fro the DAC and put a graphite detector in its plave. The dweel time is set to 10 sec (was 0.1 sec) 207Bi source is taped to the detector.
390						EP Cu	bad	x	x	x	x	continue
391						EP Cu	bad	x	x	x	x	continue
392						EP Cu	bad	x	x	x	x
393						EP Cu	bad	x	x	x	x
394						EP Cu	bad	x	x	x	x
395						EP Cu	bad	x	x	x	x
396						EP Cu	bad	x	x	x	x
397						EP Cu	bad	x	x	x	x